## Logsheet
CENTRAL POWER RESEARCH INSTITUTE - SHORT CIRCUIT LABORATORY, BENGALURU
LOG SHEET FOR TEMPERATURE-RISE TEST ON OIL IMMERSED / DRY TYPE TRANSFORMERS
Type your readings over the yellow {{placeholders}}. Blue cells are pre-filled by ATRG. Do not rename sheets' defined names. Station: Temperature Rise
Header
Test series no. | {{temprise.hdr.series_no}}
CPRI sample code | {{temprise.hdr.sample_code}}
Customer / Manufacturer | {{temprise.hdr.customer}}
Rating | {{temprise.hdr.rating}}
Serial no. | {{temprise.hdr.serial_no}}
Date of test | {{temprise.hdr.date}}
Test details
Connections (HV / LV) | {{tr.connections}}
Tap position for TR test | {{tr.tap}}
Total losses applied (W) | {{tr.total_loss}}
No-load loss (NLL) (W) | {{tr.nll}}
Full load loss at 75 °C (FLL) (W) | {{tr.fll}}
Rated current at selected tap (A) | {{tr.rated_current}}
Readings during temperature rise test
Unit: W, °C | Time | Applied losses | Top oil | Bottom oil | Amb 1 | Amb 2 | Amb 3 | Amb 4 | Avg amb | Top-oil rise
0 | {{tr.h00.time}} | {{tr.h00.loss}} | {{tr.h00.top}} | {{tr.h00.bot}} | {{tr.h00.a1}} | {{tr.h00.a2}} | {{tr.h00.a3}} | {{tr.h00.a4}} | {{tr.h00.aavg}} | {{tr.h00.rise}}
1 | {{tr.h01.time}} | {{tr.h01.loss}} | {{tr.h01.top}} | {{tr.h01.bot}} | {{tr.h01.a1}} | {{tr.h01.a2}} | {{tr.h01.a3}} | {{tr.h01.a4}} | {{tr.h01.aavg}} | {{tr.h01.rise}}
2 | {{tr.h02.time}} | {{tr.h02.loss}} | {{tr.h02.top}} | {{tr.h02.bot}} | {{tr.h02.a1}} | {{tr.h02.a2}} | {{tr.h02.a3}} | {{tr.h02.a4}} | {{tr.h02.aavg}} | {{tr.h02.rise}}
3 | {{tr.h03.time}} | {{tr.h03.loss}} | {{tr.h03.top}} | {{tr.h03.bot}} | {{tr.h03.a1}} | {{tr.h03.a2}} | {{tr.h03.a3}} | {{tr.h03.a4}} | {{tr.h03.aavg}} | {{tr.h03.rise}}
4 | {{tr.h04.time}} | {{tr.h04.loss}} | {{tr.h04.top}} | {{tr.h04.bot}} | {{tr.h04.a1}} | {{tr.h04.a2}} | {{tr.h04.a3}} | {{tr.h04.a4}} | {{tr.h04.aavg}} | {{tr.h04.rise}}
5 | {{tr.h05.time}} | {{tr.h05.loss}} | {{tr.h05.top}} | {{tr.h05.bot}} | {{tr.h05.a1}} | {{tr.h05.a2}} | {{tr.h05.a3}} | {{tr.h05.a4}} | {{tr.h05.aavg}} | {{tr.h05.rise}}
6 | {{tr.h06.time}} | {{tr.h06.loss}} | {{tr.h06.top}} | {{tr.h06.bot}} | {{tr.h06.a1}} | {{tr.h06.a2}} | {{tr.h06.a3}} | {{tr.h06.a4}} | {{tr.h06.aavg}} | {{tr.h06.rise}}
7 | {{tr.h07.time}} | {{tr.h07.loss}} | {{tr.h07.top}} | {{tr.h07.bot}} | {{tr.h07.a1}} | {{tr.h07.a2}} | {{tr.h07.a3}} | {{tr.h07.a4}} | {{tr.h07.aavg}} | {{tr.h07.rise}}
8 | {{tr.h08.time}} | {{tr.h08.loss}} | {{tr.h08.top}} | {{tr.h08.bot}} | {{tr.h08.a1}} | {{tr.h08.a2}} | {{tr.h08.a3}} | {{tr.h08.a4}} | {{tr.h08.aavg}} | {{tr.h08.rise}}
9 | {{tr.h09.time}} | {{tr.h09.loss}} | {{tr.h09.top}} | {{tr.h09.bot}} | {{tr.h09.a1}} | {{tr.h09.a2}} | {{tr.h09.a3}} | {{tr.h09.a4}} | {{tr.h09.aavg}} | {{tr.h09.rise}}
10 | {{tr.h10.time}} | {{tr.h10.loss}} | {{tr.h10.top}} | {{tr.h10.bot}} | {{tr.h10.a1}} | {{tr.h10.a2}} | {{tr.h10.a3}} | {{tr.h10.a4}} | {{tr.h10.aavg}} | {{tr.h10.rise}}
11 | {{tr.h11.time}} | {{tr.h11.loss}} | {{tr.h11.top}} | {{tr.h11.bot}} | {{tr.h11.a1}} | {{tr.h11.a2}} | {{tr.h11.a3}} | {{tr.h11.a4}} | {{tr.h11.aavg}} | {{tr.h11.rise}}
12 | {{tr.h12.time}} | {{tr.h12.loss}} | {{tr.h12.top}} | {{tr.h12.bot}} | {{tr.h12.a1}} | {{tr.h12.a2}} | {{tr.h12.a3}} | {{tr.h12.a4}} | {{tr.h12.aavg}} | {{tr.h12.rise}}
13 | {{tr.h13.time}} | {{tr.h13.loss}} | {{tr.h13.top}} | {{tr.h13.bot}} | {{tr.h13.a1}} | {{tr.h13.a2}} | {{tr.h13.a3}} | {{tr.h13.a4}} | {{tr.h13.aavg}} | {{tr.h13.rise}}
14 | {{tr.h14.time}} | {{tr.h14.loss}} | {{tr.h14.top}} | {{tr.h14.bot}} | {{tr.h14.a1}} | {{tr.h14.a2}} | {{tr.h14.a3}} | {{tr.h14.a4}} | {{tr.h14.aavg}} | {{tr.h14.rise}}
15 | {{tr.h15.time}} | {{tr.h15.loss}} | {{tr.h15.top}} | {{tr.h15.bot}} | {{tr.h15.a1}} | {{tr.h15.a2}} | {{tr.h15.a3}} | {{tr.h15.a4}} | {{tr.h15.aavg}} | {{tr.h15.rise}}
16 | {{tr.h16.time}} | {{tr.h16.loss}} | {{tr.h16.top}} | {{tr.h16.bot}} | {{tr.h16.a1}} | {{tr.h16.a2}} | {{tr.h16.a3}} | {{tr.h16.a4}} | {{tr.h16.aavg}} | {{tr.h16.rise}}
Winding resistance - cold and hot
HV cold resistance (Ω) | {{tr.cold.hv}}
LV cold resistance (mΩ) | {{tr.cold.lv}}
Ambient during cold resistance measurement (°C) | {{tr.cold.amb}}
HV hot resistance at shutdown (Ω) | {{tr.hot.hv}}
LV hot resistance at shutdown (mΩ) | {{tr.hot.lv}}
Average ambient at shutdown (°C) | {{tr.amb_shutdown}}
Correction factor HV (°C) | {{tr.corr.hv}}
Correction factor LV (°C) | {{tr.corr.lv}}
Results (as calculated on logsheet)
Top-oil temperature rise (°C) | {{tr.top_oil_rise}}
HV winding temperature rise (°C) | {{tr.hv_rise}}
LV winding temperature rise (°C) | {{tr.lv_rise}}
Customer's Signature | [6 empty] | Test Engineer
DOCUMENT : FORMS & FORMATS - generated by CPRI ATRG