## Logsheet
CENTRAL POWER RESEARCH INSTITUTE - SHORT CIRCUIT LABORATORY, BENGALURU
LOG SHEET FOR ROUTINE TESTS ON TRANSFORMERS
Type your readings over the yellow {{placeholders}}. Blue cells are pre-filled by ATRG. Do not rename sheets' defined names. Station: Routine Tests
Header
Test series no. | {{routine.hdr.series_no}}
CPRI sample code | {{routine.hdr.sample_code}}
Customer / Manufacturer | {{routine.hdr.customer}}
Rating | {{routine.hdr.rating}}
Serial no. | {{routine.hdr.serial_no}}
Date of test | {{routine.hdr.date}}
Ambient conditions
Unit: °C, % | Ambient (°C) | RH (%)
BT | {{rt.amb.bt}} | {{rt.rh.bt}}
AT | {{rt.amb.at}} | {{rt.rh.at}}
Vector group
| BT | AT
Vector group | {{vg.bt}} | {{vg.at}}
Insulation resistance (GΩ)
Unit: GΩ | BT | AT
H.V. to Earth | {{ir.bt.hv_e}} | {{ir.at.hv_e}}
L.V. to Earth | {{ir.bt.lv_e}} | {{ir.at.lv_e}}
H.V. to L.V. | {{ir.bt.hv_lv}} | {{ir.at.hv_lv}}
Induced over-voltage test
Unit: V, A, Hz, s | BT | AT
Voltage | {{iov.bt.v}} | {{iov.at.v}}
Current | {{iov.bt.a}} | {{iov.at.a}}
Frequency | {{iov.bt.hz}} | {{iov.at.hz}}
Duration | {{iov.bt.s}} | {{iov.at.s}}
Observation | {{iov.bt.obs}} | {{iov.at.obs}}
Separate source (power frequency) voltage withstand
Unit: kV, s, mA | BT | AT
H.V. Voltage | {{hvpf.bt.kv}} | {{hvpf.at.kv}}
H.V. Duration | {{hvpf.bt.s}} | {{hvpf.at.s}}
H.V. Current | {{hvpf.bt.ma}} | {{hvpf.at.ma}}
H.V. Observation | {{hvpf.bt.obs}} | {{hvpf.at.obs}}
L.V. Voltage | {{lvpf.bt.kv}} | {{lvpf.at.kv}}
L.V. Duration | {{lvpf.bt.s}} | {{lvpf.at.s}}
L.V. Current | {{lvpf.bt.ma}} | {{lvpf.at.ma}}
L.V. Observation | {{lvpf.bt.obs}} | {{lvpf.at.obs}}
Voltage ratio
| BT A(U) | BT B(V) | BT C(W) | AT A(U) | AT B(V) | AT C(W)
Tap 1 | {{ratio.t1.bt.u}} | {{ratio.t1.bt.v}} | {{ratio.t1.bt.w}} | {{ratio.t1.at.u}} | {{ratio.t1.at.v}} | {{ratio.t1.at.w}}
Tap 2 | {{ratio.t2.bt.u}} | {{ratio.t2.bt.v}} | {{ratio.t2.bt.w}} | {{ratio.t2.at.u}} | {{ratio.t2.at.v}} | {{ratio.t2.at.w}}
Tap 3 | {{ratio.t3.bt.u}} | {{ratio.t3.bt.v}} | {{ratio.t3.bt.w}} | {{ratio.t3.at.u}} | {{ratio.t3.at.v}} | {{ratio.t3.at.w}}
Tap 4 | {{ratio.t4.bt.u}} | {{ratio.t4.bt.v}} | {{ratio.t4.bt.w}} | {{ratio.t4.at.u}} | {{ratio.t4.at.v}} | {{ratio.t4.at.w}}
Tap 5 | {{ratio.t5.bt.u}} | {{ratio.t5.bt.v}} | {{ratio.t5.bt.w}} | {{ratio.t5.at.u}} | {{ratio.t5.at.v}} | {{ratio.t5.at.w}}
Tap 6 | {{ratio.t6.bt.u}} | {{ratio.t6.bt.v}} | {{ratio.t6.bt.w}} | {{ratio.t6.at.u}} | {{ratio.t6.at.v}} | {{ratio.t6.at.w}}
Tap 7 | {{ratio.t7.bt.u}} | {{ratio.t7.bt.v}} | {{ratio.t7.bt.w}} | {{ratio.t7.at.u}} | {{ratio.t7.at.v}} | {{ratio.t7.at.w}}
Customer's Signature | [6 empty] | Test Engineer
DOCUMENT : FORMS & FORMATS - generated by CPRI ATRG